Sun Feb 13 22:26:46 2005 deepstorage1.na ? Trap found with no known format in trapd.conf(4)

Enterprise ibm (1.3.6.1.4.1.2.6.159.201.2) community public

generic trap:6 specific trap:1

Timestamp:4886239 Agentaddr:deepstorage1.na.unilever.com args(17):

[1] private.enterprises.ibm.ibmProd.159.202.1 (OctetString): SNMP.iso.org.dod.internet.private.enterprises.ibm.ibmProd.190.1

[2] private.enterprises.ibm.ibmProd.159.202.2 (OctetString): Unknown

[3] private.enterprises.ibm.ibmProd.159.202.3 (OctetString): 162.87.7.122

[4] private.enterprises.ibm.ibmProd.159.202.6 (OctetString): Alert

[5] private.enterprises.ibm.ibmProd.159.9696.9.1 (OctetString): public

[6] private.enterprises.ibm.ibmProd.159.9696.9.2 (OctetString): # Machine Type = 21454F2

[7] private.enterprises.ibm.ibmProd.159.9696.9.3 (OctetString): # Serial Number = 1301544

[8] private.enterprises.ibm.ibmProd.159.9696.9.4 (OctetString): # Error ID = 74002

[9] private.enterprises.ibm.ibmProd.159.9696.9.5 (OctetString): # Error Code = 2030

[10] private.enterprises.ibm.ibmProd.159.9696.9.6 (OctetString): # Software Version = 1.2.1.0 (build 1.21.0410150000)

[11] private.enterprises.ibm.ibmProd.159.9696.9.7 (OctetString): # FRU = None

[12] private.enterprises.ibm.ibmProd.159.9696.9.8 (OctetString): # Cluster Name = DEEPSTORAGE

[13] private.enterprises.ibm.ibmProd.159.9696.9.9 (OctetString): # Node ID = 7

[14] private.enterprises.ibm.ibmProd.159.9696.9.10 (OctetString): # Error

Sequence Number = 1007

[15] private.enterprises.ibm.ibmProd.159.9696.9.11 (OctetString): # Timestamp = Sun Feb 13 22:13:20 2005

[16] private.enterprises.ibm.ibmProd.159.9696.9.12 (OctetString): # Object Type = 4

[17] private.enterprises.ibm.ibmProd.159.9696.9.13 (OctetString): # Object ID = 7

SPECIFIC   : 1 (hex: 1)

GENERIC    : 6

CATEGORY   : Status Events

ENTERPRISE : ENTERPRISES  1.3.6.1.4.1.2.6.159.201.2

SOURCE     : Source not known (?)

HOSTNAME   : deepstorage1.na.unilever.com

SEVERITY   : Indeterminate

LOGGEDTIME : 02/13/05 22:26:46